TECHNICAL SPECIFICATIONS OF ON-LINE STANDALONE {{ups_config}} KVA UPS & BYPASS PANEL SYSTEM ({{phaseconfigfrom}}PH – {{phaseconfigto}}PH)

(1)	INPUT

Voltage														:	{{ivoltage}} VAC, {{phase}} Phase {{wire}} wire

Voltage Variation										:	+/-{{ivariationv}}%

Frequency													:	{{ifrequency}} Hz

Frequency Variation									:	+/-{{ivariationf}}%

Power Factor												:	{{ipf}}

- OUTPUT

Rating														:	{{rating}} KVA / {{rating_real}} KW at {{ipf_rounded}} p.f.

Voltage 													:	{{ovoltage}} VAC, {{ophase}} Phase {{owire}} wire

Voltage Variation										:	± {{ovariationv}}%

Crest Factor												:	3:1

Waveform													:	Sinusoidal

Frequency                                                    :	{{ofrequency}} Hz ± {{ovariationf}}% in free running	& +/- {{ovariationfs}}% in sync

Harmonic Distortion									:	< 2% on linear load

< 5% on non-linear load

Output Isolation											:	Provided

Battery Charging Time								:	8-10 hours.

Battery Specification	                                   :	{{batno}} nos. {{batcap}} Ah {{batvpcell}}V/Cell SMF VRLA Battery.

Battery Voltage                                    			:	{{batv}}VDC, Details refer battery 																				sizing calculation sheet.

Inverter Efficiency										:	>90%

Regulation	                                   :	+/- {{ovariation_balanced}}% for balanced load, +/-{{ovariation_unbalanced}}% for unbalanced load

Inverter Technology									:	IGBT

- STATIC BYPASS										:	Through back-to-back SCR

- MANUAL BYPASS									:	Provided

- BYPASS LINE EQUIPMENT                       :	{{bypass_line_equipment}}

- PROTECTIONS

Rectifier	                                    :	{{rectifier_protections_list}}

Inverter	                                    :	{{inverter_protections_list}}

(7)    METERING	                                    :	Multiplexed LCD Display to read Following parameters with user friendly mimic drawing 

Input	: {{metering_input_list}}
Battery	: {{metering_output_list}}
Output	: {{metering_battery_list}}

NOTE: Battery Earth Fault – Only status will be shown in Event Log page, no mA will be displayed.

(8)    INDICATIONS (MIMIC)                                :	{{indications_list}}

(9)    AUDIO ALARM                                            :	{{audio_alarm_list}}

(10)  POTENTIAL FREE CONTACTS                  :	{{pot_free_contacts_list}}

(11)   SWITCHGEAR						:	MCCB for input, battery, output,

bypass and manual bypass will be provided.

(12)   ENCLOSURE							:	{{ip_rating}}

(13)	COMMUNICATION									:	{{communication_protocol}}

(14)   ENVIRONMENT

- Operating Temperature							:	{{optemplow}}°C ~ {{optemphigh}}°C

- Altitude Factor with de-aeration              :   {{altitude_factor}}M

- Humidity                                                  :   Up to {{rh_percent}}% RH (non-condensing)

- Cooling	                                    :   {{cooling_process}} {{cooling_type}} cooled

- Noise	                                    :   {{noise_power}} dbA IN {{noise_distance_m}} M

- Painting Procedure                                 :	{{paint_process}}

(15)	CABLE ENTRY											:	Front side Bottom